Poster 8

Study of Anthocyanin Oxidative Transformations Using on-Line Coupling Of Electrochemistry 
with Mass-Spectrometry

David Jirovsky1, Zdenka Bartošová1, Renáta Myjavcová1,2, 
Petr Bednář2, Karel Lemr2

1-Regional Centre of Advanced Technologies and Materials, Department of Analytical Chemistry, Faculty of Science, Palacky University, 17. Listopadu 12, 771 46 Olomouc, Czech Republic,

2-Department of Analytical Chemistry, Palacky University, 17. listopadu 12, 771 46 Olomouc, Czech Republic

Anthocyanins are natural water-soluble dyes that are responsible for the red, blue, and purple colors of numerous flowers and fruits. Up to now, over 250 different anthocyanins have been isolated from diverse plant material [1]. Numerous health promotion effects of anthocyanins were reported, whereas antioxidant, antimicrobial and antiviral properties are among the most important ones. Moreover, formulations rich in anthocyanins were also used for prevention as well as treatment of diabetes, cardiovascular diseases, some forms of cancer and obesity [2]. Anthocyanins as natural antioxidants are attracting much attention because of their chemoprotective role in oxidative cell metabolism. However, anthocyanins therefore can also undergo spontaneous transformation reactions, when exposed to air for longer periods of time. Similar processes can be observed in anthocyanin solutions (such as red wine) during the ageing process.

Electrochemistry coupled with mass spectrometry (EC-MS) is a relatively new but very promising analytical tool for on-line study of miscellaneous redox processes. It has been reported that particular reactions of oxidative metabolism can be truly emulated using EC-MS [3].

We subjected selected anthocyanins from the cyanidin family to electrochemical oxidation with the subsequent on-line mass-spectrometric identification of the formed products. Application of low potentials (100 mV vs. Pd/H2) at flow-through graphite electrode yielded detectable products. As a first step of the electrochemically induced oxidation, incorporation of the hydroxyl group was observed. Consequently, an oxidative condensation of two anthocyanin molecules was observed in MS/MS spectra. The proposed oxidative condensation was further confirmed by MS3 and MS4 spectra where corresponding consecutive losses of sugar moiety were observed [4]. Detailed structure elucidation (i.e.determination of the binding site of the incorporated hydroxyl group) is now in progress.

[1] P. Bedn?ř, B. Papou?kov?, L. M?ller, P. Bart?k, J. St?vek, P. Pavlou?ek and K. Lemr, Utilization of capillary electrophoresis/mass spectrometry (CE/MSn) for the study of anthocyanin dyes. J. Sep. Sci. 28, 1291-1299, 2005.
[2] R. L. Prior and X. L. Wu, Anthocyanins: Structural characteristics that result in unique metabolic patterns and biological activities. Free Rad. Res. 40, 1014-1028, 2006.
[3] U. Jurva, Electrochemistry on-line with mass spectrometry/Instrumental methods for in vitro generation and detection of drug metabolites. In: Ph.D. dissertation, University of Groningen, the Netherlands 2004.
[4] D. Jirovsk?, P. Bedn?ř, R. Myjavcov?, Z. Barto?ov?, J. Skopalov?, M. Tvrdoňov? and K. Lemr, Study of electrochemical oxidation of cyanidin glycosides by on-line combination of electrochemistry with electrospray ionization tandem mass spectrometry. Monatsh. Chemie, submitted.

Acknowledgment
The support by Grant Agency of Czech Republic (No.: P206/10/0625) and by the Grants Nr. MSM6198959216 and by the Operational Program Research and Development for Innovations – European Social Fund (project CZ.1.05/2.1.00/03.0058) of Ministry of Education, Youth and Sports, Czech Republic is gratefully acknowledged.